## Sheet1
Date |  | S4NT |  |  |  | Ref
04/10/2021 |  | PPM – Mechanical Check |  |  |  | ZEN-MC-7475
Calorifier Number: |  |  | Address: | Cheviot View , West Street, West Allotment, Newcastle upon Tyne, NE27 0RA
No | Task |  |  | Comments
1 | Calorifier ON/OFF
2 | If calorifier OFF, date when OFF
3 | If Calorifier is OFF, is it empty? (Y/N)
4 | Circulation pumps ON/OFF
5 | Shunt pumps ON/OFF
6 | Are there any leaks (Y/N)
7 | Condition of associated pipework and valves |  | NA
8 | Condition of associated pumps |  | NA
9 | Condition of initial drain water |  | NA
10 | Temperature of initial drain water (oC)
11 | Is there sludge present (Y/N)
12 | Is Temperature stratification present (Y/N)
13 | Condition of insulation |  | NA
14 | Are temperature/pressure gauges operating OK
15 | Water analysis carried out (Y/N)
16 | Analysis results
17 | Full drain flush carried out (Y/N)
18 | Date Calorifier pasteurised/disinfected last
19 | Date of last 2 yearly inspection (where applicable)
20 | Expansion Vessels ok
21 | Expansion Vessel charge
22 | Pump Condition |  | NA
23 | Pump Amps
24 | Flue Condition |  | NA
25 | PRV Condition |  | NA
26 | Safety device Condition |  | NA
Engineer Comments:
Name |  | Tessa Aston | Signature |  | Date of Check | 04/10/2021