## Sheet1
Date |  | Castles & Coasts Housing Association |  |  |  | Ref
11/10/2021 |  | PPM – Mechanical Check |  |  |  | ZEN-MC-7452
Calorifier Number: |  | 1 & 2 | Address: | Carisbrooke Court, Chester Terrace, Sunderland, SR1 3SN
No | Task |  |  | Comments
1 | Calorifier ON/OFF |  | On | Calorifier 1 is on calorifire 2 is off
2 | If calorifier OFF, date when OFF |  | 01/01/1980 | Unknown
3 | If Calorifier is OFF, is it empty? (Y/N) |  | N
4 | Circulation pumps ON/OFF |  | On
5 | Shunt pumps ON/OFF |  | On | Shunt pump 1 is off
6 | Are there any leaks (Y/N) |  | N
7 | Condition of associated pipework and valves |  | Average
8 | Condition of associated pumps |  | Average
9 | Condition of initial drain water |  | Average
10 | Temperature of initial drain water (oC) |  | 78 | Open vented
11 | Is there sludge present (Y/N) |  | N
12 | Is Temperature stratification present (Y/N) |  | N
13 | Condition of insulation |  | Average
14 | Are temperature/pressure gauges operating OK |  | Y
15 | Water analysis carried out (Y/N) |  | N
16 | Analysis results |  | NA
17 | Full drain flush carried out (Y/N) |  | N
18 | Date Calorifier pasteurised/disinfected last |  | 01/01/1980
19 | Date of last 2 yearly inspection (where applicable) |  | 01/01/1980
20 | Expansion Vessels ok |  | NA
21 | Expansion Vessel charge
22 | Pump Condition |  | Average
23 | Pump Amps |  |  | Shunt pump 1 = 0.6 heating pump 1 = 1.8 heating pump 2= 1.7 secondary = 0.7
24 | Flue Condition |  | Average
25 | PRV Condition |  | Average
26 | Safety device Condition |  | Good
Engineer Comments: Boiler 1 is off and isolated water heater 2 is off and isolated
Name |  | Tessa Aston | Signature |  | Date of Check | 04/10/2021