## Sheet1
Date |  | Castles & Coasts Housing Association |  |  |  | Ref
07/09/2022 |  | PPM – Mechanical Check |  |  |  | ZEN-MC-12478
Calorifier Number: |  |  | Address: | Thornbury, Front Street, Winlaton, Blaydon on tyne, NE21 4RE
No | Task |  |  | Comments
1 | Calorifier ON/OFF |  | On | 3251162282505
2 | If calorifier OFF, date when OFF |  | 01/01/1980
3 | If Calorifier is OFF, is it empty? (Y/N)
4 | Circulation pumps ON/OFF |  | On
5 | Shunt pumps ON/OFF |  | On
6 | Are there any leaks (Y/N) |  | N
7 | Condition of associated pipework and valves |  | Average
8 | Condition of associated pumps |  | Average
9 | Condition of initial drain water |  | NA
10 | Temperature of initial drain water (oC)
11 | Is there sludge present (Y/N) |  | N
12 | Is Temperature stratification present (Y/N) |  | N
13 | Condition of insulation |  | Average
14 | Are temperature/pressure gauges operating OK
15 | Water analysis carried out (Y/N)
16 | Analysis results
17 | Full drain flush carried out (Y/N)
18 | Date Calorifier pasteurised/disinfected last |  | 01/01/1980
19 | Date of last 2 yearly inspection (where applicable) |  | 01/01/1980
20 | Expansion Vessels ok |  | Y
21 | Expansion Vessel charge |  | 1.5
22 | Pump Condition |  | Average
23 | Pump Amps |  | 1.85
24 | Flue Condition |  | Average
25 | PRV Condition |  | Average
26 | Safety device Condition |  | Average
Engineer Comments: I cleared rubbish from boiler room
Name |  | Tessa Aston | Signature |  | Date of Check | 17/08/2022