## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
John Buddle Work Village
Buddle Road
Newcastle Upon Tyne
NE4 8AW
CARRIED OUT ON BEHALF OF
John Buddle Work Village
REPORT NUMBER: 20-1538
DATE OF REPORT: 27/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | John Buddle Work Village
Address | Buddle Road
Newcastle Upon Tyne
NE4 8AW
Site Address | John Buddle Work Village
Buddle Road
Newcastle Upon Tyne
NE4 8AW
Carried Out On | 16/07/2020 21/07/2020 21/07/2020
Survey Completed By | Dave Aston
SECTION 2: Introduction
Assess damaged flue & quote for the next steps. Also investigate boiler issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
SECTION 3: Report
Attend site check flue and find it needs replacing so contact heating components for a quotation on replacement, quote pending Check boiler no1 find heat exchanger damaged beyond repair quote to replace heat exchanger also quote for replacement boiler... flue could go vertical further investigation needed. Water heater in cleaners cupboard not working find over heat stat open circuit, blowing fuses new parts quoted , parts for ne w rod stat part no heatra sadia 95980009 ... £35 +vat 1 hrs to fit Tea boiler in kitchen has signs of burning and blows fuses I would not recommend fitting parts as it's old, advise new tea boiler price heatra sadia supreme 150 2.5l £568+ vat 1 hrs to fit Radiator valve 1 no 1/2" tmv £25 2no freeze artic spray £40 2 hrs to fit Over head heater in work shop needs A frame ladders for 3m working height to gain access ,possibly over heat activated Onsite 12.30 offsite 15.00 quotes needed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
SECTION 4: Photos
Room / Area
Description
Notes
Biler condemned by others quote for either replacement heat exchanger or new boiler
Room / Area
Description
Notes
Condemned boiler heat exchanger U/S
Room / Area
Description
Notes
Tea boiler in kitchen has burn Mark's inside and smells of burning quote for new boiler
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
SECTION 4: Photos
Room / Area
Description
Notes
Herz tmv not switching off new valve needed will have to freeze pipework to carry out this task ...
Room / Area
Description
Notes
Over head heater 3 m high no access equipment available need to attend with a frame ladders 3 m height
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-1538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes