## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
John Buddle Work Village
Buddle Road
Newcastle Upon Tyne
NE4 8SW
CARRIED OUT ON BEHALF OF
John Buddle Work Village
REPORT NUMBER: 20-2240
DATE OF REPORT: 27/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | John Buddle Work Village
Address | Buddle Road
Newcastle Upon Tyne
NE4 8AW
Site Address | John Buddle Work Village
Buddle Road
Newcastle Upon Tyne
NE4 8SW
Carried Out On | 11/08/2020
Survey Completed By | Dave Aston
SECTION 2: Introduction
Supply and fit a new rod over heat stat to cleaners heatrea sadia FBM water heater

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
SECTION 3: Report
Attend to supply and fit new over heat rod stat to FBM water heater in cleaners cuboard ,commission and test all after wait until water up to temp Onsite 1300 off site 1400 complete Parts used 1 no heatra sadia over heat stat

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-2240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes