## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Derwentdale Court
1-32 Derwentdale Court
Blackhill
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5344
DATE OF REPORT: 08/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Derwentdale Court
1-32 Derwentdale Court
Blackhill
DH8 8PY
Carried Out On | 27/11/2020, 18/06/2021, 22/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
quote for flue. meeting nationwide chimneys onsite

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
SECTION 3: Report
Attend site 1430 Flues leaking need replaced ASAP. Investigate why boiler no 1 turned off Find stud one burner snapped off this needs extracting and re tapping , ordered a new burner plate and gasket also a new ignition probe. When parts in at wholesalers I will reattend site and repair boiler. Offsite 1630 fow Attend site to re commission heating boiler, Drill out out re tap holes install new studs was out burner and heater hanger re assembled find out fan is siezed pick up a new fan fit all and commissioned and test Parts used New burner plate 6x burner fixer studs New burner New fan assembly Gasket set Complete 12.30

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes