## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Whitley Farm Close
Whitley
Goole
DN14 0GL
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 20-5378
DATE OF REPORT: 27/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 29 Whitley Farm Close
Whitley
Goole
DN14 0GL
Carried Out On | 27/01/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
survey and install new boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
SECTION 3: Report
Boiler in currently is glow worm 30hxi Recommended for a heat only boiler as tenant has advised all residents of house all get ready on mornings and multiple hot water outlets could be used at same time. 10 radiators total all 15mm valves.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes