## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Greengates House
Amos Drive
Annfield Plain
DH9 7YE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5426
DATE OF REPORT: 17/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Greengates House
Amos Drive
Annfield Plain
DH9 7YE
Carried Out On | 30/11/2020, 02/12/2020 07/12/2020
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 16.01.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
SECTION 3: Report
On site 1400 30/11/20 Start to carry out cp15 on gas equipment will return on Wednesday to complete Offsite 1630 Onsite 10.15 02/12/20 Calculate gas volume and work out tightness duration, carry out a tightness test. Strip and clean 3 x ideal imax w100 heating boilers , clean condensate traps out and then carried out a service on each set up to manufacturer's specification, all ok Carry outva service on the lochinvar LBF-220 DHW heater all ok Check VT pumps x2 all ok Check constant temp pumps x2 all ok Off site 1415 Onsite 07/12/20 0745 Strip and clean and service grundfos pressurisation unit reset service reminder Isolate and drain down heating expansion vessel set pressure to 1.4 bar and recommission Isolate dhw expansion vessel and drain down set pressure to 3 bar and recommission Check all actuators for operation all ok Check operation of bms for all ok Offsite 1145 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes