## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Percy Hedley Centre (Ferndene)
19 Lyndhurst Road
Benton
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5476
DATE OF REPORT: 08/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Percy Hedley Centre (Ferndene)
19 Lyndhurst Road
Benton
NE12 9NT
Carried Out On | 08/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 18.02.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
SECTION 3: Report
Attend 0800 to carry out a commercial gas tightness test On Rroval had to wait for site contact to carry out covid test, once tested had to wait in van for results. Not allowed onsite until 0945 when test results came back clear. Once onsite measured gas run and turn all 10 combi boilers off and carry out a tightness test, fill out a tightness test cert and not all findings. Test all ok off site 1115 Phil to carry out all the boiler services and complete relevant service paperwork.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes