## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms with House 2 Candlish Street
South Shields
Tyne & Wear
NE33 3JW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5488
DATE OF REPORT: 24/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms with House 2 Candlish Street
South Shields
Tyne & Wear
NE33 3JW
Carried Out On | 24/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 27.02.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
SECTION 3: Report
Attend site to carry out an annual gas safety inspection 0800 Carry out a tightness test G4 meter .008m3 Pipework and fittings .0327 Total .0407 All ok standard 2-6-2 test carried out. No unvented areas to check Gas meter can supply 6m3 per hour and boilers are using 2.48m3 each there are 2 boilers .also a domestic gas cooker so well within what the boiler can supply. Heating boilers Baxi F2301S burner pressure 12.7mb 24.15kw 0003 ratio 26ppm co 7.1%co2 Baxi FS301S burner pressure 12.7mb 24.21kw 0007 ratio 59ppm co 6.9%co2 Boilers25+ years old advise changing for more efficient condensing room sealed boilers Hot water is supplied by 2 x no Elsdon 225ltr vented units in loft only 4m of head pressure.(located in loft space above tv room) one cylinder is fed off each circuit/ boiler Advise changing these for 2 unvented 200ltr units Pumps Grundfos 16-50 domestic feeding a y plan Unknown 16-50 domestic feeding a y plan Offsite 1300

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5488
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes