## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
St Johns Court
Front Street
Sacriston
DH7 6JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5497
DATE OF REPORT: 17/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | St Johns Court
Front Street
Sacriston
DH7 6JA
Carried Out On | 22/03/2021 01/01/1970 23/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 27.03.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
SECTION 3: Report
Attend site1030 -1600 22/03/21 Attend site 1430 23/03/21 to Finnish off gas servicing Strip both heating boilers remeha quinta pro 115 clean all components and reassemble using new burner gaskets and replace ignition probes, commission boilers to manufacturer's specification., clean condensate traps. Visually inspect flues all ok Check operation of both welo heating pumps all ok Check operation of welo shunt pump all ok Isolate and drain down expsion vessel and set pressure to 1.4 bar Check operation of the pressurisation unit and visually check for leaks all ok Northern gas networks attended to install a new 2" EVC to the gas installation, carry out a tightness test all 0mb drop All ok no issues Parts used Remeha quinta pro 115 gasket set x2 Remeha Quinta pro 115 ignition probes x 2 Total £80 van stock Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes