## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Graham Court
Sacriston
Durham
DH7 6LW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5502
DATE OF REPORT: 06/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Graham Court
Sacriston
Durham
DH7 6LW
Carried Out On | 06/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
AGSC TD 16.04.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
SECTION 3: Report
LPC 6.4.21 0825 - 0930 for Arrived on site and attempted access to building, but site is due for demolition . I know that the boilers on site have been removed , and that the gas pipe work / meter have been purged to air ( as confirmed today with Dave Aston ) Spoke to Jim Park from Karbon , who stated that he reqs a purge cert , that would have been issued on the day . The U40/G25 meter is still on site , but not connected to the gas supply as the gas ECV is plugged off and made safe . Dave Aston would have produced the purge to air documentation I can only confirm that the gas supply has been made safe to the building . I would imagine that Northen Gas Networks , will be req to attend site to physically remove the supply to the building itself .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes