## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5507
DATE OF REPORT: 01/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 28/05/2021, 01/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 02.06.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
SECTION 3: Report
Attend site 0730 Carry out an annual service on all plant 3 no Elco thision heating boilers inspected condensate traps emptied and cleaned no 3 boiler auto air vent leaking so replaced with one from van stock ( unable to analize as fire alarm going off and gas valve closed karbon informed of this at 0815 and fire alarm company informed haven't arrived before I left at 1200) 1 no grundfos magna d50- 120f twin head heating pump set checked both running at max using 3.4AMP Both ok no issues 1 no jet jet midi 125d pressurisation unit isolated and stripped and cleaned all ok no issues pressure set at 1.5bar 1 no reflex 400 ltr heating expansion vessel isolated and drained pressure checked at 1.4 bar refilled all ok no issues 3 no wilo stratos para 30/1_8 shunt pumps of boilers all ok 0.9Amps all ok no issues No tightness test carried out as gas off Parts used 1 no 1/2" flamco auto air vent van stock £20 Offsite 1145 Re attend site at 1700 to analize the boilers offsite 1830 Need to reattend site to carry out the tightness test on Tuesday this is booked in for 0900 Attend 0800 01/06/21 Denise opened up for use To carry out a tightness test find secondary meter fed from holburn gas supply this was isolated when I arrived a test carried out on the supply and found to be ok once test carried out the ecv turned back to the off position, karbon will be paying for the gas that is yours if this is ever reinstated Offsite 1000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
SECTION 4: Photos
Room / Area
Description
Notes
3 x boilers inspected
Room / Area
Description
Notes
Auto air vent on boiler no 3 leaking and replaced with air vent from van stock
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5507
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes