## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tynedale Grange
Haltwhistle
Norrthumberland
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5508
DATE OF REPORT: 01/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Tynedale Grange
Haltwhistle
Norrthumberland
NE49 9LF
Carried Out On | 01/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 04.06.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
SECTION 3: Report
Attend site 1030 to carry out annual maintenance check 2 no ideal evomax 100 boilers stripped and cleaned all ok no issues 2 no wilo status para 25/1 8 to shunt pumps no issues all ok 1 no magna 1 40-60 heating pump for bungalows ok no issues 1 no flexion 200 let expansion vessel isolated and drained pressure checked 1.5bar ok no issues 1 no grundfos ups 25_55 180 ok no issues 1 no magna 1 40-80 220 ok no issues 1 no grundfos d40-120f twin set ok no issues 1 no 2" gas solinoide ok no issues 1 no flamco flexifiller 125d pressurisation unit test no issues 1 no 1" seimens 3 port and actuator ok no issues 1 no calorfier maker unknown ok no issues

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes