## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Plot 18, 6 The Lawns
Ladgate Lane
Middlesbrough
TS4 3SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5617
DATE OF REPORT: 10/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Plot 18, 6 The Lawns
Ladgate Lane
Middlesbrough
TS4 3SA
Carried Out On | 14/12/2020
Survey Completed By | Gary Ward
SECTION 2: Introduction
Find & repair leaks and recommission boiler.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
SECTION 3: Report
Leak was on 22mm John guest elbow in ceiling above boiler, had access through ceiling to repair, carried out LGSR. There is a keysafe on the property, the code is 0003, please ensure that the code is mixed up, and the panel closed on this once finished. Also see 20-5866

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes