## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5635
DATE OF REPORT: 09/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 09/12/2020, 09/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Tenant reports 2 x radiators on either end of 2nd floor hall not working. Radiator in ground floor stairwell with stairlifts not working. Lesley Duggan is on site Mon - Fri 8.30-12.30 for access ring 07736 942657.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
SECTION 3: Report
LPC 9.12.20 0915 - 1030. Attended site and gained access to main building . Checked the radiators as reported, found them to be isolated via the lockshield valve . The remote LST TRVS have failed and the radiators have been isolated . Inorder to replace these the building will req isolating and draining . I also suspect there is a lot more failed valves onsite . The site has a positive COVID Tennent , so a detailed survey has not been carried out This is not a job for the winter , but a summer job. This will req rearranging for a better / safer time Dave Hunter Hunter informed. These radiators have no water and no water in the circulating pipe work so have either been isolated and drained or cut from the system

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes