## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tamar Close
North Shields
Newcastle Upon Tyne
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5683
DATE OF REPORT: 09/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Tamar Close
North Shields
Newcastle Upon Tyne
NE29 8QR
Carried Out On | 05/02/2021
Survey Completed By | Robert Jones
SECTION 2: Introduction
6 Month Mechanical Check TD Jan 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
SECTION 3: Report
Tamar court Boiler 1 ✅ Boiler 2 ✅ Boiler 3 ✅ Pressurisation unit ✅ Heating vessel 1.7bar ✅ Primary pump ✅ DHW pump ✅ DHWS cylinder 1 strat pump ✅ PRV check ✅ Expansion vessel 3bar ✅ DHWS cylinder 2 strat pump ✅ PRV check ✅ Expansion vessel CH zone pump 1 ✅ CH Zone pump 2 ✅

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes