## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Ferndene
Theap Gardens
Howdon
NE28 7HT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5685
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Ferndene
Theap Gardens
Howdon
NE28 7HT
Carried Out On | 19/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check TD March 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
SECTION 3: Report
Attend site for 6 monthly mechanical check 3 no hamworthy fleet f125v heating boiler no 1 and 2 no issues, No 3 requires a pump and a flow switch 1 no grundfos magna 3d 40-150 f 250 twin set no issues both ok 1 no grundfos magna 3d 40-120 f 250 twin set no issues both ok 1 no hamworthy chesil pressurisation unit no issues all ok , needs over flow pipe piping to drain 1 no hamworthy reflex 400lrt Heating expansion vessel isolate and drain and re charge to 1.4 bar, base which it sits on needs attention as this is on mdf and has been wet and needs replacing 2 no hamworthy reflex 60ltr dcw expansion vessels isolate drain and recharge to 3.3 bar 2 no schnider m700 3 port actuatorsfor calorfier can't check operation as not responding to bms 1 no schnider m 700 heating actuator unable to check as not responding to bms 1 no magna 3 dhw pump all ok no issues 2 no hamworthy powerstock calorfier no 1 no issues no 2 showing over heat has activated, carried out tests but over heat stat ok, 3 " honeywell gas solinode valve no issues all ok Bms not working in auto mode all actuators manually open , boilers on constant and calorfier no 2 has a over heat light illuminated on the panel but there's no issues on calorfier. Boiler no 3 needs a pump as its siezed and the flow switch is leaking .prices will follow Spent 2.5 hours fault finding Offsite1230 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5685
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes