## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Mayfield Park
Bristol Drive
Battle Hill
NE28 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5686
DATE OF REPORT: 26/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Mayfield Park
Bristol Drive
Battle Hill
NE28 9BF
Carried Out On | 25/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check TD Feb 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
SECTION 3: Report
Attend 1000 to carry out a 6 monthly check 2 x hamworthy fleet f150 v both ok no issues 2 x lockinvar shw60-325ce both ok no issues 2 x aquasystem ar24 dcw expansion vessels boiler 1 ok boiler 2 badder split, needs replacing 1 x grundfos alpha 2 15-50 n 130 domestic hot water pump ok no issues 1 x wilo comfort p135 pressurisation unit for heating all ok no issues 1 x wilo comfort p135 pressurisation unit for ash no issues all ok 1 x wilo expansion vessel 200ltr for heating, pressure checked and set at 1.4 bar 1 x expansion vessel un-known for ash pressure checked and set at 1.5 bar 2 x grunfos mge 808 twin set , heating zone 2 both ok no issues 2 x grunfos magna 3 twin set , heating zone 1 both ok no issues 2 x schnider m800 actuators zone 1 and zone 2 both ok no issues 2 x grundfos magna 3 twin set ASH heating pumps both ok no issues 2 x grundfos magna 3 twin set ASH primary pumps both ok no issues 1 x air dirt separator ok no issues Parts needed to bring the site up to 100% 1 no aquasystem ar24 £65 + vat 1 hour to fit Offsite 1330 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes