## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville House
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5701
DATE OF REPORT: 14/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Carville House
Carville Road
Wallsend
NE28 6DX
Carried Out On | 01/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
6 Month Mechanical Check TD March 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
SECTION 3: Report
LPC 1.4.21 1130 - 1620 Arrived on site and gained access to plantroom , to carry out 6 monthly mechanical inspection. Upon entry I noticed a lot of water to be present on floor around the boiler modules . I carried out a detailed examination and found that the condensate line from the flue , had failed . Isolated all modules via gas and power supply and made safe , left site and collected parts req to carry out repair . Returned to site and cur out leaking condensate line, fitted new pipe work as req . Allowed trap to fill and tested all ok . Checked and drained vessels, and recharged as req . Swapped duty over of all pumps, but found issue with auto select on zone 2 pumps. Powered down panel and allowed time to reset, turned back on working ok . Exercised all valves through full travel , found to be ok . Corrosion on Calorifiors as noted on last visit , still the same no further damage. No corrosion or signs of leaks on PRVs or AAVs , all ok. NOTE ..... Boilers or gas lines have not been worked on tested today.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes