## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5702
DATE OF REPORT: 26/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 15/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check TD April 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
SECTION 3: Report
Attend site 1100 to carry out a 6 month mechanical check 2 no hamworthy fleet f125v heating boilers ok no issues 1 no hamworthy chesil pressurisation unit ok no issues 1 no jet expansion vessel drained and recharged to 1.5 bar ok no issues 1 no grunfos magna 3d 40- 150 f250 twin set heating pump set ok no issues 1 no grunfos magna 3d 40-120 f250 twin set ASHP pump set ok no issues 1 no grundfos magna 3d 32-60 180 twinset ASHP shunt pump st ok no issues 1 no jet ASHP expansion vessel ok no issues 1 no hamworthy chesil ASHP pressurisation unit ok no issues 2 no lockinvar shw60-325ce DHWboiler ok no issues 1 no grunfos magna3 25-60 n160 1 no Schneider vt heating actuator ok no issues 1 no Schneider heating actuator ok no issues 2 no 24 ltr expansion vessel for domestic cold water drained and repressurised 3.2 bar

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5702
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes