## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Southgate
Mendip Close
Longbenton
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5703
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Southgate
Mendip Close
Longbenton
NE12 8UW
Carried Out On | 25/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check TD Feb 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
SECTION 3: Report
Attend 1330 to carry out a 6 monthly check 3 x hamworthy fleet f150 v boilers all ok no issues 1 x grundfos magna 3 twin set primary pumps all ok no issues 1 x grundfos ups 32-80 domestic hot water pump ok no issues 1 x grundfos magna 3 twin set zone 1 heating pumps all ok no issues 1 x grundfos magna 3 twin set zone 2 heating pumps all ok no issues 2 x schnider m700 s2 srsu actuators zone 1-2 heating all ok no issues 2 x schnider m400 actuators for dhw caloifers all ok no issues 1 x hamworthy 500 ltr expansion vessel drained and pressure checked and set at 1.4 bar 1 x reflex 69 ltr dhw expansion vessel drained and pressure set at 3.5 bar 1 x hamworthy chesil pressurisation unit operation checked no issues all ok 1 air dirt separator isolate drain and check operation all ok no issues 1 x gas solinode 2.5" all ok no issues All pipework in good condition no leaks Condensate pipework runs out side but not to drain. Offsitec1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes