## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Front Street
Cullercoats
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 20-5704
DATE OF REPORT: 09/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Victoria Court
Front Street
Cullercoats
NE30 4QR
Carried Out On | 05/02/2021
Survey Completed By | Robert Jones
SECTION 2: Introduction
6 Month Mechanical Check TD Feb 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
SECTION 3: Report
Victoria court Boiler 1 ✅ Boiler 2 ✅ Boiler 3 ✅ Pressurisation unit ✅ Heating vessel ❌ Gate valve won’t isolate vessel to drain to check pressure, checked pressure whilst full. 1.5 Domestic vessels ❌ No drain off valves on any of the vessels, vessels can be isolated though. Checked pressures at 3 bar, none were full of water. Cylinder 1 PRV ✅ Strat pump ✅ Cylinder 2 PRV ✅ Strat pump ✅ CH primary pump DHW primary pump ✅ DHW secondary pump ✅ Primary pumps Grundfos twin set MAGNA 3D 40 - 120F 250 CH Pumps Grundfos MAGNA 3D 40 - 100F 220 DHW 2 x Hamworthy unvented Calorifiors PS400 380L CH Vessel BOSS 300 L DHW VESSELS 1 x Lowara 300 L 4 x Hamworthy Refix DE25 25 L

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes