## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Ash Terrace
Leadgate
Consett
DH8 7QL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5769
DATE OF REPORT: 11/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Ash Terrace
Leadgate
Consett
DH8 7QL
Carried Out On | 15/12/2020
Survey Completed By | James Moore
SECTION 2: Introduction
Check Flue as per Josh (Kevin Keeler request)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
SECTION 3: Report
Isolated gas and capped meter so roofers can repair roof then returned and removed capped and did spillage and flue flow test sent josh videos of the flue and smoke coming out the top of the terminal

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5769
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes