## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 18 Aldwych House
Commercial Road
South Shields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 20-5848
DATE OF REPORT: 14/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 18 Aldwych House
Commercial Road
South Shields
NE33 1UE
Carried Out On | 23/12/2020
Survey Completed By | Dave Aston
SECTION 2: Introduction
Radiators not heating up properly - please investigate and provide feedback to Ian Taylor

## Report
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
SECTION 3: Report
Attend site 1300 23/12/20 Tennant complaining of radiators not heating up, pick keys up from flat 15 (opposite) as arranged with the tennant of flat 18 as he is at work . Check all radiators and find trv pin stuck in the closed position (danfoss trvs) take each thermostatic head off and free pin off on the valve , instantly the radiators heat up Left site all working Offsite 1315 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 20-5848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes