## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
36 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10009
DATE OF REPORT: 13/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 36 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 13/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant has reported that her hot taps in the kitchen and bathroom are spluttering and spitting instead of flowing as they should. It is usually Zenith contractors who manage this because of issues with the outside boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
SECTION 3: Report
Attend site 1215 for water spluttering outvof taps check all plant and all in working order and check auto air vents for operation all found to be working as they should , this site has already been highlighted that converting to mains cold water would be beneficial and disconnect all rads in bathrooms as these ru off dhw and I'd causing all dwh to get air locked and nor operate as it should Offsire 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes