## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Foxcover Court
Parkside
Seaham
SR7 7PX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10014
DATE OF REPORT: 06/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Foxcover Court
Parkside
Seaham
SR7 7PX
Carried Out On | 06/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Repair needed- Failed flue integrity test, new flue seals required. Isolated appliance, label and warning notice issued. Y High readings when carrying out test Job REF - 21-8761

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
SECTION 3: Report
Flue seal was not seated properly on top of the flue turret causing a failed flue integrity test. Reseated the seal as no damage to it and retested boiler. Everything running as it should be.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10014
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes