## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Haven House
leadgate
consett
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10031
DATE OF REPORT: 18/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Haven House
leadgate
consett
Carried Out On | 18/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
2" gas valve is leaking and in need of replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
SECTION 3: Report
Attend site 0800 This is not a gas valve leaking it's a 2"gate valve off the heating zone no 1 Turn heating off and drain zone no 1 down , once drained strip out the 2" crane gate valve out, Inspect and find leaking from the body , split the valve and locktite the treads reassemble and install , fill system and vent all radiators on zone 1 , re commission heating and test for leaks all ok. Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10031
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes