## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Stockton Road
Seaham
County Durham
SR7 0HZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10032
DATE OF REPORT: 13/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Stockton Road
Seaham
County Durham
SR7 0HZ
Carried Out On | 13/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Replace baxi flue - as per service Flue failed

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
SECTION 3: Report
Replace flue seals off boiler had to strip out whole vertical flue and check all flue seals all ok Flue integrity test on completion 20.5% o2 0 % Co Complete 1700 Parts used Internal flue seal

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes