## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10040
DATE OF REPORT: 24/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 24/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Unable to turn heating off Tenant has requested that job is booked in for W/C 23/8/21

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
SECTION 3: Report
Isolated the heating circuit to the underfloor heating as 3 cartridges require changing Attend site 1315 Isolate and drain down heating circuit strikmoutv4 x heating cartridges fill and vent test for leaks all ok , stripmout 4 x actuators and wire in 4 x new uponor actuators and test operation of all components open and closed all working Parts used 4 x uponor underfloor heating cartridges £20.31 each 4 x uponor underfloor heating actuators £32.74 each All from vanstock Offsite 1500 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
SECTION 4: Photos
Room / Area
Description
Notes
All components changed
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes