## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
81 Pipe Track Lane
Newcastle upon Tyne
Tyne and Wear
NE4 8JQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10075
DATE OF REPORT: 18/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 81 Pipe Track Lane
Newcastle upon Tyne
Tyne and Wear
NE4 8JQ
Carried Out On | 18/08/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Hot Water or Heating please Replace ---- Boiler has been capped off ---- Combi boiler located in garage ---- Replace like for like ---- Multipul flue lengths needed

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
SECTION 3: Report
Location - garage Boiler being removed - eco tec plus Standoff kit required - no 22mm gas pipe visible at boiler - yes Flue - horizontal Updated controls required - yes Condensate pump required - no Filter required - yes Other means of heating - no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes