## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Oakwood Court
Stanley
County Durham
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10076
DATE OF REPORT: 18/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Oakwood Court
Stanley
County Durham
DH9 8NE
Carried Out On | 18/08/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Leak from 15mm hot pipe above flat main door before internal stop tap

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
SECTION 3: Report
On arrival noticed secondary hot water pipe in flat was heavily corroded with pitting and pin holed. Had to get assistance from d Aston to help isolate whole building hot and cold water services. Cut out pipe work and replace. I would recommend a filter fitting on to the cold water inlet pipe work as there is a bad chemical reaction happening with the mixing of the various metals in the pipe work

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10076
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes