## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10095
DATE OF REPORT: 08/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 02/09/2021, 07/09/2021, 08/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Check/repair fault to radiators - unable to adjust temperature

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
SECTION 3: Report
Found thermostat and 3 port zone valve were incorrectly wired up. The property has just been taken over by a new tenant. Also requires a new 3 wire zone valve this has been ordered from team valley parts Center and also a new 230 v room stat. Have done a temporary wire on these but 1 leg is passing so got radiator valves working so they could stop back feeding heat. The job will take half a day as is black iron pipe work Tried to trace out a isolation valve to separate flat from main heating plant. Had to break in to boxing’s but this was reinstated when completed also had to cut in to boxing behind wc as this was the only point that I could gain the space to freeze pipe work so valves could be cut in. A new 3 port diverted valve was installed with additional isolation valves. Still requires tony to fit an inspection hatch cover to boxing and remake around a pipe in the bedroom

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10095
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes