## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms within Bungalow, 5 Carisbrooke Close
Washington
Tyne & Wear
NE37 2HZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10108
DATE OF REPORT: 22/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms within Bungalow, 5 Carisbrooke Close
Washington
Tyne & Wear
NE37 2HZ
Carried Out On | 20/08/2021, , 22/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Water hygiene test done and the engineer has said that the boiler temp is down and this could lead to possible legionnaires' disease for the tenants

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
SECTION 3: Report
Carried out checks to boiler this is working satisfactory but did find the boiler stat set to 30 degrees so increased to 70. Then went in to roof space to check unvented cylinder and found this has got a leak as the base is wet and there is water marks also checked the pipe work this is dry. On leaving the water temperature was starting to improve ie was measuring at 48 degrees Attend site 0800 Find boiler tempset to 65° , check the water temp find 50°from the kitchen tap . Increase the boiler temp to 75° and wait until tap water temp up to 57° This boiler temperature needs to be left onn75° so hot water temp is high enough for legionella. Off site 0930 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes