## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Spring View
Bristol Drive
Battle Hill
NE28 9TH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-10154
DATE OF REPORT: 23/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 21 Spring View
Bristol Drive
Battle Hill
NE28 9TH
Carried Out On | 23/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Fault on wetroom solenoids at the flat above

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
SECTION 3: Report
Attend flat 21 at for heating not turning off Investigate and find bathroom actuator fitted incorrectly, recfit and test all ok check operation of all components on underfloor heating system all found to ok Offsite - complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes