## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 13
1-18 Tynedale Grange
Haltwhistle
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10207
DATE OF REPORT: 24/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 13
1-18 Tynedale Grange
Haltwhistle
NE49 9LF
Carried Out On | 24/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Bedroom radiator will not turn off at individual radiator control and is stuck on full heat.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
SECTION 3: Report
Attend site 0830 Find bedroom radiator not turning off travel to hexham to pick up new 12 peglar terrier trv return to site, isolate heating in flat and drain down but find isolation passes so had to isolate and drain down site from plantroom, change trv in bedroom and return to plantroom and fill up usingbthe quick fill , vent all radiators that I can get access to in other flats which I could get access too , turn heating on and check for leaks there's some air circulating because of no access to some flats but quiet when I left all working Parts used 1 x peglar terrier trv 15mm van stock Offsite 1200 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes