## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Edinburgh Close
Hartlepool
County Durham
TS25 1HR
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10239
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 Edinburgh Close
Hartlepool
County Durham
TS25 1HR
Carried Out On | 26/08/2021
Survey Completed By | Paul McManus
SECTION 2: Introduction
New Boiler Required - authorised by Andrew Sutherland

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
SECTION 3: Report
Kitchen wall Ideal icos No stand off kit required 15mm pipe visible only at boiler Horizontal flue Updated controls needed No condensate pump required Combi mate present after stop tap Magclean needed No other means of heating Emersion heater working for hot water.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes