## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eccles Grange
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-10256
DATE OF REPORT: 14/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Eccles Grange
NE27 0FW
Carried Out On | 26/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
SECTION 3: Report
Attend site 1430 to carry out a 6 month mechanical check 2 no hamworthy fleet f250v heating boilers in Good working order no issues 1 no hamworthy chesil pressurisation unit in good working order no issues 1 no reflex 200 ltr expansion vessel isolated and drained and pressure tested for 1.5 bar 1 no wilo stratos d40/1-12 twin set heating pumps tested and no issues 1 no wilo stratos d40/1-12 twin set primary pumps tested and no issues 1 no wilo stratos pico dhw pump tested no issues 2 no hamworthy ps500 calorifiers drained and checked no issues no leaks and lagging in good order 2 no reflex 60 dhw expansion vessels isolated and drained and pressure checked at 3.5 bar no issue 1 no Schneider m800 v t actuator tested no issues 1 slight leak from pipework to dhw pump and pipework showing signs of distress see attached pic Parts needed 28 mm pipe 1 no 28mm pressfit sockets 1 no 28mm pressfit elbows 1 no 28mm brass olive Offsite 1700

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
SECTION 4: Photos
Room / Area
Description
Notes
Leaking pip
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes