## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 ST Cuthberts Way
Bishop Auckland
Co Durham
DL14 6EQ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10257
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 20 ST Cuthberts Way
Bishop Auckland
Co Durham
DL14 6EQ
Carried Out On | 25/08/2021 , 26/08/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Job Description - Leak from toilet cistern an isolation valve

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
SECTION 3: Report
Arrived on site to bathroom floor very wet. Leak come from cistern bolt. I put a new isolation valve on and isolated the toilet tenant made aware that are not allowed to use for the night but have downstairs toilet to use. Follow on works- Replace both cistern fixing bolts. (New style cistern fixing kit required, wolsley product code is - C01009.) Replace 15mm flexi hose, with isolation valve. ..................................... GW Picked up parts mentioned above, once on site I proceeded to attempt to remove toilet cistern, due to heavy corrosion of the existing bolts this took longer than usual. Once removed the cistern fixing kit was replaced and a new 15mm iso flexi installed. Carried out tests to ensure no leaks remained.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes