## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10259
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 26/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Resident at 19 reported bathroom radiator not working

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
SECTION 3: Report
Attend site 0830 Investigate why bathroom radiator isn't working , find pin on trv stuck closed and unable to free off so isolate heating using the flats isolation valves and drain down and stripnout 15mm trv and replacecwith peglar bulldog trv . Fill and vent test operation all ok. Parts used 1 x 15mm peglar bulldog TRV from van stock £15 Offsite 1000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes