## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10262
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 26/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Standard Callout for Commerical Boilers - Flat 5 and Flat 17 are getting scalded each time the shower is used due to incorrect pressure from the commerical boiler.If you can treat this repair as Urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
SECTION 3: Report
Attend site 1300 no access to flat 17 Gain access to flat 5 find water pressure to electric shower poor but 3 + bar at all other outlets. Isolate water to flat and stripndown shower find filter is blocked clean down , but notice the pipework leading from the shower so flush through until water runs clear , reassemble shower and test all ok tenants has hot water from sh5now THIS IS NOT A COMMUNAL DHW ISSUE AS ITS AN ELECTRIC SHOWER offsite 1415 no 5 is complete no access to no 17

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes