## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10263
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 26/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Commercial contractors requested by Karbon plumber Leak from water pipes in cupboard. Please arrange ASAP as leak is coming through to neighbours ceiling

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
SECTION 3: Report
Attend site 1030 Had to strip boxing in out damaging it as its not been stripped out and has been painted over for many years and screws covered, once stripped out Gain access to a craine 3/4" gate valve leaking , isolate heating in plantroom , drain down. strip down and repack the gland and reassemble and fill up and vent test for leaks all ok now bleed all radiators that I can get access too All ok no leaks but karbon will have to return to site to replace boxing in Offsite 1230 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
SECTION 4: Photos
Room / Area
Description
Notes
Leaking gate valve
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes