## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
41 Sallyport Crescent
Newcastle upon Tyne
Tyne and Wear
NE1 2NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10270
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 41 Sallyport Crescent
Newcastle upon Tyne
Tyne and Wear
NE1 2NE
Carried Out On | 26/08/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replace Boiler Customer has no hot water or heating ---- Please can the boiler be replaced Combi boiler ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
SECTION 3: Report
Boiler being removed - ideal isar Standoff kit required - no 22mm gas pipe visible at boiler - no Flue - horazontal Updated controls required - yes Condensate pump required - no Filter required - yes (small one) Other means of heating - no Boiler is off tenant no heating or hot water.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes