## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Oakwood Court (Flats 1-30)
1 - 30 Oakwood Court
Stanley
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10283
DATE OF REPORT: 27/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Oakwood Court (Flats 1-30)
1 - 30 Oakwood Court
Stanley
DH9 8NE
Carried Out On | 27/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water reported by flat 7

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
SECTION 3: Report
Attend site 1000 Find main gas saftey solinode tripped and reset boilers heating and hot water , wait until all up to temperature all ok Offsite 1045 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes