## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Stanley Court
Stanley
Co Durham
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10284
DATE OF REPORT: 27/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Stanley Court
Stanley
Co Durham
Carried Out On | 27/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Gas leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
SECTION 3: Report
Attend site 0745 Trace gas Leak to 3" screwed gas pipe on a flange , pipework had to be purged and stripped out to remake the flange joint (between floors) Once remade purge and carry out a tightness test Test before repair 2 mb over 2 mins with a smell of gas Test after repair 0mb drop This repair needs to be stripped out and mad a welded joint as current regulation states that all steel pipework over 2" needs to be welded not screwed so JR utilities attended to provide a quote to replace the screwed table E 3" flange with a welded flange they will provide the rams Offsite 1700 complete all heating and hot water working Parts used 4 x gaskets 2 x ldf 1 x gas paste

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes