## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10285
DATE OF REPORT: 06/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 27/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Commercial Boiler Repairs - No heating or hot water Commercial Boiler Repairs - No heating or hot water - customer is unsure if its afectig anyone else in the block also ---- CV19 symptoms - No ---- Self Isolating - No ---- Advised to Self Isolate - No ---- Travel in high risk countries - No ---- Underlying high risk health conditions which is considered a factor - No ---- Objects or unable to maintain social distancing and ventilation - No

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
SECTION 3: Report
This was off due to the gas leak in the building and was reinstated when the gas leak was sorted

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10285
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes