## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 8, Holborn House
1-28 Holborn House
Commercial Road
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10360
DATE OF REPORT: 05/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 8, Holborn House
1-28 Holborn House
Commercial Road
NE33 1EA
Carried Out On | 02/09/2021, 16/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Heating in flat 8 isn't getting very hot

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
SECTION 3: Report
Requires a plate heat exchanger as split also further investigation required as sure this is incorrectly piped up wrong. The PHE is been sourced by merchants through manufacturers 16/09/21 Check hotvwater find all ok 52°at kitchen tap , try heating Find very little coming through the return all radiators hot to the flow but very little circulation, trace throughout the building find a commissioning valve only open 10% re set to 50 % and instantly the return heats up. Check all radiators and find all get v hot tennant now has heating and hor water. Offsite 1430 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes