## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Stella
Blaydon
Tyne and Wear
NE21 4NG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10364
DATE OF REPORT: 01/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Stella
Blaydon
Tyne and Wear
NE21 4NG
Carried Out On | 01/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Repair identified on service - Failed flue integrity test. New flue seal required.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
SECTION 3: Report
Changed flue seals, first ontop of boiler heat exchanger second in the flue elbow as both had very badly corroded. Once changed issue was fixed.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
SECTION 4: Photos
Room / Area
Lounge cupboard
Description
New flue seal
Notes
Room / Area
Lounge cupboard
Description
Old flue seal
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10364
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes