## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Olaman Walk
Peterlee
County Durham
SR8 2EA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10398
DATE OF REPORT: 02/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Olaman Walk
Peterlee
County Durham
SR8 2EA
Carried Out On | 02/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Boiler going to f27 fault due to new pcb required. Unable to carry out service. New pcb required part no 0020132764

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
SECTION 3: Report
F27 fault, spoke to vaillant technical carried out tests on boiler and pointed to issue with pcb. Replaced pcb and issue was resolved.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
New pcb
Notes
Room / Area
Hallway cupboard
Description
Old pcb
Notes
Shows boiler fired with new pcb installed and old pcb removed.
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10398
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes