## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Langley House
Langley Close
Redcar
TS10 4JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10402
DATE OF REPORT: 03/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Langley House
Langley Close
Redcar
TS10 4JF
Carried Out On | 03/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Temperature issues on heating system. Mr Maywood reports that he either gets scalding hot or only luke warm water in both his bathroom and kitchen taps. This was so bad that his young grandson nearly scalded himself recently.He has had numerous plumbers out before but the issue has still not be resolved. He says the communal heating system has still not been checked.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
SECTION 3: Report
Found issues was down to temperature of hot water leaving the plant room it was measured at 80 degrees. So I reset to 65 degrees through the satchwell climatic control. When talking with the tenant he informed me he is fairly new to the property and not used to these problems and also informed me that the other tenants felt uncomfortable reporting these problems. The reason for the kitchen sink water been Luke warm and taking a while to get hot is the secondary hot water has the pump missing. I also tested in another flat and in the communal to confirm my diagnosis.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes